## Analysis Sheet - Data Entry
MicroBio Count Correction and Results Calculator
This spreadsheet will only work for the MicroBio MB1 and MB2 Bioaerosol Samplers.
Report Header
Analysis By
Collection Date
Collection Time
Select Model | MB1
Select Sampling Head Holes | 220
Incubation Time
Incubation Temperature
Data Entry
| ENTER DATA HERE |  | DO NOT EDIT CELLS BELOW
Plate No. | Sample Volume | Count | Corrected Count | CFU/m3 | Temperature | Humidity | Notes
1 | 100 |  | 0 | 0
2 | 100 |  | 0 | 0
3 | 100 |  | 0 | 0
4 | 100 |  | 0 | 0
5 | 100 |  | 0 | 0
6 | 50 |  | 0 | 0
7 | 100 |  | 0 | 0
8 | 100 |  | 0 | 0
9 | 100 |  | 0 | 0
10 | 100 |  | 0 | 0
Insert more rows above if needed
Statistics
CFU/m3
Maximum | 0
Minimum | 0
Mean | 0
Standard Deviation | 0
95% Confidence Interval | #NUM!
Range Min | #NUM!
Range Max | #NUM!
% | Range
95 | #NUM!
90 | #NUM!
85 | #NUM!
80 | #NUM!
75 | #NUM!
70 | #NUM!
65 | #NUM!
60 | #NUM!
55 | #NUM!
50 | #NUM!
45 | #NUM!
40 | #NUM!
35 | #NUM!
30 | #NUM!
25 | #NUM!
20 | #NUM!
15 | #NUM!
10 | #NUM!
5 | #NUM!
Do not edit numbers in this table, they are calculated from the data entry table.